## Sheet1
General Conditions |  |  |  | Time | DC | Opt | WR | Site | Meas type | Az angle | Zen angle | Filename (root\...) | Comments | Cloud (1/8) | Surf Type | Grain Size (mm) | Height (cm) | GPS WP # | Surf Img # | Bio/dust Smpl #
Site: | GRIS: S6 | Mode: | RAW DN/Reflectance | 1143 | Y | Y | N | SB1 | ALUP1 | 0 | 0 | 23_7_SB1_ALUP1_A0_Z0 | SMALL CHOLES. MAY NOT HAVE OPTIMIZED CORRECTLY | 7 | CI | 2 | 32
Date: | 23/07/2017 | Illumination Type: | Natural, solar noon +/- 2hr | 1146 | N | N | N | SB1 | ALDN1 | 0 | 0 | 23_7_SB1_ALDN1_A0_Z0
Operator: | JC, AT, SH | Filename: Root | C:/ProgramFiles/ASD/JC2017 | 1148 | N | Y | N | SB1 | ALUP2 | 0 | 0 | 23_7_SB1_ALUP2_A0_Z0
Instrument On time: | MAINS 0900-1115 | Sample surface area (m2) |  | 1149 | N | N | N | SB1 | ALDN2 | 0 | 0 | 23_7_SB1_ALDN2_A0_Z0
Reference Panel: | Sheffield WR | Sensor height (m) | See table | 1151 | N | Y | N | SB1 | ALUP3 | 0 | 0 | 23_7_SB1_ALUP3_A0_Z0
Fore-optic | RCR/8degree | Bio/dust sample dimensions (x,y,z: cm) | 100 x 100 x 20 mm | 1152 | N | N | N | SB1 | ALDN3 | 0 | 0 | 23_7_SB1_ALDN3_A0_Z0
Fo-jumper | Sheffield 1.5m | Bio/dust sample volume: (cm3) | 200 cm3 | 1155 | Y | Y | Y | SB1 | HCRF | 0 | 0 | 23_7_SB1_HCRF_A0_Z0 |  |  |  |  | 52 |  | 118-4713
|  |  |  | 1159 | Y | Y | N | SB2 | ALUP1 | 0 | 0 | 23_7_SB2_ALUP1_A0_Z0 | SMALL CHOLES, THIN REFROZEN LAYER ON WEATHERING CRUST | 7 | CI | 2 | 32
Date for filename | 23_7 |  |  | 1200 | N | N | N | SB2 | ALDN1 | 0 | 0 | 23_7_SB2_ALDN1_A0_Z0
|  |  |  | 1202 | N | Y | N | SB2 | ALUP2 | 0 | 0 | 23_7_SB2_ALUP2_A0_Z0
|  |  |  | 1203 | N | N | N | SB2 | ALDN2 | 0 | 0 | 23_7_SB2_ALDN2_A0_Z0
|  |  |  | 1206 | Y | Y | Y | SB2 | HCRF | 0 | 0 | 23_7_SB2_HCRF_A0_Z0 | [6 empty] | 118-4714
|  |  |  | 1209 | Y | Y | N | SB3 | ALUP1 | 0 | 0 | 23_7_SB3_ALUP1_A0_Z0 | CLOUDS THINNING. ON SOLID ICE, NO WEATHERING LAYER, SOME REFROZEN | 6 | HA | 3
|  |  |  | 1210 | N | N | N | SB3 | ALDN1 | 0 | 0 | 23_7_SB3_ALDN1_A0_Z0
|  |  |  | 1212 | N | N | N | SB3 | ALUP2 | 0 | 0 | 23_7_SB3_ALUP2_A0_Z0
|  |  |  | 1213 | N | N | N | SB3 | ALDN2 | 0 | 0 | 23_7_SB3_ALDN2_A0_Z0
|  |  |  | 1216 | y | y | y | SB3 | HCRF | 0 | 0 | 23_7_SB3_HCRF_A0_Z0 | [6 empty] | 118-4715
|  |  |  | 1219 | Y | Y | N | SB4 | ALUP1 | 0 | 0 | 23_7_SB4_ALUP1_A0_Z0 | THIN WEATHERED LAYERE | 5 | MA | 1
|  |  |  | 1220 | N | N | N | SB4 | ALDN1 | 0 | 0 | 23_7_SB4_ALDN1_A0_Z0
|  |  |  | 1222 | N | Y | N | SB4 | ALUP2 | 0 | 0 | 23_7_SB4_ALUP2_A0_Z0
|  |  |  | 1223 | N | N | N | SB4 | ALDN2 | 0 | 0 | 23_7_SB4_ALDN2_A0_Z0
|  |  |  | 1226 | Y | Y | Y | SB4 | HCRF | 0 | 0 | 23_7_SB4_HCRF_A0_Z0 | [6 empty] | 118-4716
|  |  |  | 1230 | Y | Y | N | SB5 | ALUP1 | 0 | 0 | 23_7_SB5_ALUP1_A0_Z0 | BLOCKY CRYSTAL WEATHERING CRUST, REFROZEN, BLOCKS 1CM | 5 | HA | 1
|  |  |  | 1232 | N | N | N | SB5 | ALDN1 | 0 | 0 | 23_7_SB5_ALDN1_A0_Z0
|  |  |  | 1233 | N | Y | N | SB5 | ALUP2 | 0 | 0 | 23_7_SB5_ALUP2_A0_Z0
|  |  |  | 1234 | N | N | N | SB5 | ALDN2 | 0 | 0 | 23_7_SB5_ALDN2_A0_Z0
|  |  |  | 1238 | Y | Y | Y | SB5 | HCRF | 0 | 0 | 23_7_SB5_HCRF_A0_Z0 | VARIABLE DISC OBSCURED | [5 empty] | 118-4717
|  |  |  | 1243 | Y | Y | N | S1 | ALUP1 | 0 | 0 | 23_7_S1_ALUP1_A0_Z0 | SOLID ICE, SMALL C HOLES, THIN WEATHERED LAYER | 5 | LA | 2-3
|  |  |  | 1244 | N | N | N | S1 | ALDN1 | 0 | 0 | 23_7_S1_ALDN1_A0_Z0
|  |  |  | 1246 | N | Y | N | S1 | ALUP2 | 0 | 0 | 23_7_S1_ALUP2_A0_Z0
|  |  |  | 1247 | N | N | N | S1 | ALDN2 | 0 | 0 | 23_7_S1_ALDN2_A0_Z0
|  |  |  | 1250 | Y | Y | Y | S1 | HCRF | 0 | 0 | 23_7_S1_HCRF_A0_Z0 | [6 empty] | 118-4718
|  |  |  | 1256 | Y | Y | N | S2 | ALUP1 | 0 | 0 | 23_7_S2_ALUP1_A0_Z0 | MANY SMALL C HOLE, WEATHERED CORAL | 6 | VLA | 2-3
|  |  |  | 1257 | N | N | N | S2 | ALDN1 | 0 | 0 | 23_7_S2_ALDN1_A0_Z0
|  |  |  | 1258 | N | Y | N | S2 | ALUP2 | 0 | 0 | 23_7_S2_ALUP2_A0_Z0
|  |  |  | 1259 | N | N | N | S2 | ALDN2 | 0 | 0 | 23_7_S2_ALDN2_A0_Z0
|  |  |  | 1303 | Y | Y | Y | S2 | HCRF | 0 | 0 | 23_7_S2_HCRF_A0_Z0 | [6 empty] | 118-4719
|  |  |  | 1310 | Y | Y | N | S3 | ALUP1 | 0 | 0 | 23_7_S3_ALUP1_A0_Z0 | SOLID ICE, NO CHOLES, SOLAR DISC OBSCURED | 6 | HA
|  |  |  | 1312 | N | N | N | S3 | ALDN1 | 0 | 0 | 23_7_S3_ALDN1_A0_Z0
|  |  |  | 1313 | N | Y | N | S3 | ALUP2 | 0 | 0 | 23_7_S3_ALUP2_A0_Z0
|  |  |  | 1315 | N | Y | N | S3 | ALUP3 | 0 | 0 | 23_7_S3_ALUP3_A0_Z0
|  |  |  | 1316 | N | N | N | S3 | ALDN3 | 0 | 0 | 23_7_S3_ALDN3_A0_Z0
|  |  |  | 1319 | Y | Y | Y | S3 | HCRF | 0 | 0 | 23_7_S3_HCRF_A0_Z0 | [6 empty] | 118-4720
|  |  |  | 1324 | Y | Y | N | S4 | ALUP1 | 0 | 0 | 23_7_S4_ALUP1_A0_Z0 | DISC OBSCURED. CLEAN GRANULAR REFROZEN | 6 | SNOW | 2-3
|  |  |  | 1325 | N | N | N | S4 | ALDN1 | 0 | 0 | 23_7_S4_ALDN1_A0_Z0
|  |  |  | 1326 | Y | Y | Y | S4 | ALUP2 | 0 | 0 | 23_7_S4_ALUP2_A0_Z0
|  |  |  | 1328 | N | N | N | S4 | ALDN2 | 0 | 0 | 23_7_S4_ALDN2_A0_Z0
|  |  |  | 1333 | Y | Y | Y | S4 | HCRF | 0 | 0 | 23_7_S4_HCRF_A0_Z0 | DISREGARD FIRST 10 | [5 empty] | 118-4721
|  |  |  | 1343 | Y | Y | N | S5 | ALUP1 | 0 | 0 | 23_7_S5_ALUP1_A0_Z0 | SOLID BLUE ICE NO CHOLES | 6 | MA | SOLID
|  |  |  | 1344 | N | N | N | S5 | ALDN1 | 0 | 0 | 23_7_S5_ALDN1_A0_Z0 | DISREGHARD ALUPDN1
|  |  |  | 1346 | Y | Y | N | S5 | ALUP2 | 0 | 0 | 23_7_S5_ALUP2_A0_Z0
|  |  |  | 1347 | N | N | N | S5 | ALDN2 | 0 | 0 | 23_7_S5_ALDN2_A0_Z0
|  |  |  | 1349 | N | Y | N | S5 | ALUP3 | 0 | 0 | 23_7_S5_ALUP3_A0_Z0
|  |  |  | 1350 | N | N | N | S5 | ALDN3 | 0 | 0 | 23_7_S5_ALDN3_A0_Z0
|  |  |  | 1353 | Y | Y | Y | S5 | HCRF | 0 | 0 | 23_7_S5_HCRF_A0_Z0 | [6 empty] | 118-4722
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
23_7___A_Z
Note on A10: E.g. for 13 July, put 13_7